## d15N_d18O_NOx_with blank
Denitrifier calibrations |  |  | Fill in data on standards in green area
Corrections based on eq. in Casciotti et al. 2002
[20 empty] | Measured | Reference
References used |  | USGS 34 | USGS 34 | USGS 34 | USGS 34 | USGS 35 | USGS 35 | USGS 35 | USGS 35 |  | Extra standard |  |  |  |  | Linear regression: |  |  | d15N | -5.4874 | -1.8
|  | nmol | Area all | d15N | d18O | nmol | Area all | d15N | d18O |  | nmol | Area all | d15N | d18O | [5 empty] | -6.0282 | 2.7
Measured values: | 1 | 20 | 8.233 | -5.387 | 0.005 | 20 | 7.663 | -5.387 | 0.005 |  | 20 | 7.663 | -5.387 | 0.005 |  | (corrected=slope*measured+intercept)
| 2 | 10 | 3.194 | -5.296 | 0.274 | 10 | 2.538 | -8 | -3 |  | 10 | 2.538 | 68 | 1 |  | d15N |  |  | d18O | -0.2056 | -27.9
| 3 | 5 | 1.397 | -5.03 | -0.039 | 10 | 3.317 | -5.03 | -0.039 |  | 10 | 3.317 | -5.03 | -0.039 |  | slope | -8.321 |  |  | -0.8604 | 57.5
| 4 | 10 | 4.243 | -6.488 | -1.525 | 5 | 0.819 | -6.488 | -1.525 |  | 5 | 0.819 | -6.488 | -1.525 |  | intercept | -47.4607
| 5 | 20 | 7.924 | -5.236 | 0.257 | 20 | 5.469 | -5.236 | 0.257 |  | 20 | 5.469 | -5.236 | 0.257
| 6 | 5 | 1.973 |  |  | 5 | 1.628 |  |  |  | 5 | 1.628 |  |  |  | d18O
| 7 | 10 | 4.273 |  |  | 10 | 3.086 |  |  |  | 10 | 3.086 |  |  |  | slope | -130.4215
| 8 | 5 | 2.197 |  |  | 5 | 1.593 |  |  |  | 5 | 1.593 |  |  |  | intercept | -54.7147
| 9 | 20 | 7.974 |  |  | 20 | 6.29 |  |  |  | 20 | 6.29
| 10 | 20 | 7.806 |  |  | 20 | 6.943 |  |  |  | 20 | 6.943
| 11 | [14 empty] | mass
| 12 | [14 empty] | slope | 2.4064 | USGS 34
| 13 | [14 empty] | intercept | 0.65737
14
| 15 | [14 empty] | slope | 2.6662 | USGS 35
| 16 | [14 empty] | intercept | 2.0095
17
Average |  |  |  | -5.4874 | -0.2056 |  |  | -6.0282 | -0.8604 |  |  |  | 9.1718 | -0.0604 |  | slope | 2.6662 | Extra standard
Stdev |  |  |  | 0.57453 | 0.75116 |  |  | 1.2384 | 1.3867 |  |  |  | 32.8908 | 0.91856 |  | intercept | 2.0095
Reference values |  |  |  | -1.8 | -27.9 |  |  | 2.7 | 57.5 |  |  |  | 4 | -1
Dd |  |  |  | 3.6874 | -27.6944 |  |  | 8.7282 | 58.3604 |  |  |  | -5.1718 | -0.9396
Blank data |  |  | Area | d15N | d18O
Blank | 1 |  | 0 | 0 | 0
Blank | 2
Blank | 3
Blank | 4
Blank | 5
Blank | 6
Avg |  |  | 0 | 0 | 0
Stdev |  |  | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | Linear regression | Blank corrected |  | Linear regression | Blank corrected |  |  | Only indicative
|  | volume inj. | Area | d15N | d18O |  | d15N | d15N |  | d18O | d18O |  |  | n | concentration
SampleID |  | (ml) | measured | measured | measured |  | calibrated | corrected |  | calibrated | corrected |  |  | nmol | µM
S21 GW |  | 10 | 19.249 | 3.171 | 1.3649 |  | -73.8466 | -73.8466 |  | -232.7297 | -232.7297 |  |  | 46.9773 | 4.6977
S19 GW |  | 10 | 28.624 | 8.699 | 3.7444 |  | -119.8451 | -119.8451 |  | -543.0631 | -543.0631 |  |  | 69.5368 | 6.9537
S25 GW |  | 10 | 29.516 | 5.539 | 2.3842 |  | -93.5507 | -93.5507 |  | -365.6656 | -365.6656 |  |  | 71.6833 | 7.1683
S04 GW |  | 10 | 9.29 | 2.767 | 1.191 |  | -70.4849 | -70.4849 |  | -210.0498 | -210.0498 |  |  | 23.0124 | 2.3012
S11 GW |  | 10 | 8.251 | 0.747 | 0.32154 |  | -53.6765 | -53.6765 |  | -96.6501 | -96.6501 |  |  | 20.5122 | 2.0512
L04 GW |  | 10 | 18.773 | 1.261 | 0.54278 |  | -57.9535 | -57.9535 |  | -125.5053 | -125.5053 |  |  | 45.8318 | 4.5832